## Slide 2: Selection of pumps
Pump location
Equipment room or plenum?
Close to occupied areas?
Available space
Installation footprint
Maintenance footprint
Maintenance requirements
Parts availability
Special skills,
tools etc.

## Slide 3: Selection of pumps
Reliability
Hydraulic requirements
Flow rate,
head,
efficiency,
horsepower
NPSH